## PLSPEC
STANDARD BRASS AND LEAD FREE PLUMBING SPECIALTIES
PRICE SHEET: | PL-0621-PLSPEC | Note: Different multipliers may apply for each section depending on your matrix.
PRICES EFFECTIVE: | 2021-06-21 | You will have to manually input them.
PART# | DESCRIPTION | LIST | Multiplier | Net | INNER QTY | INNER I 2 OF 5 | MASTER QTY | MASTER I 2 OF 5 | UPC CODE
LEAD FREE 1/4 TURN SUPPLY STOP |  |  | Your Multiplier:
25-2000LF | LEAD FREE 1/4"TURN RETRO-FIT STR.SUPPLY VALVE 3/8OD CAPTURED NUT X 3/8OD COMP | 13.5135 | 0 | 0 | 10 | 10082647162041 | 200 | 20082647162048 | 82647162044
26-1001LF | LEAD FREE 3/8"FIP X 3/8"OD CP COMP 1/4"TURN ANGLE STOP OVAL HANDLE | 12.621 | 0 | 0 | 10 | 10082647139241 | 200 | 20082647139248 | 82647139244
26-1002LF | LEAD FREE 3/8" FIP X 3/8"OD CP COMP 1/4"TURN STRAIGHT STOP OVAL HANDLE | 12.2115 | 0 | 0 | 10 | 10082647161952 | 200 | 20082647161959 | 82647161955
26-1003LF | LEAD FREE 1/2" FIP X 3/8"OD CP COMP 1/4"TURN ANGLE STOP OVAL HANDLE | 13.44 | 0 | 0 | 10 | 10082647098852 | 200 | 20082647098859 | 82647098855
26-1003PLF | LEAD FREE 1/2" PRESS X 3/8" OD CP COMP 1/4" TURN ANGLE STOP | 15.96 | 0 | 0 | 10 | 10082647221243 | 100 | 20082647221240 | 82647221246
26-1003PXCELF | LEAD FREE 1/2" PEX (F1960) X 3/8" OD COMPRESSION, ANGLE STOP VALVE, CP, 1/4 TURN | 12.621 | 0 | 0 | 10 | 10082647189024 | 200 | 20082647189021 | 82647189027
26-1003PXLF | LEAD FREE 1/2"PEX X 3/8"OD CP COMP 1/4"TURN ANGLE STOP OVAL HANDLE | 12.8205 | 0 | 0 | 10 | 10082647138725 | 200 | 20082647138722 | 82647138728
26-1004LF | LEAD FREE 1/2" FIP X 3/8"OD COMP CP 1/4"TURN STRAIGHT STOP OVAL HANDLE | 12.8205 | 0 | 0 | 10 | 10082647098876 | 200 | 20082647098873 | 82647098879
26-1004PLF | LEAD FREE 1/2" PRESS X 3/8" OD COMP CP 1/4" TURN STRAIGHT STOP | 15.96 | 0 | 0 | 10 | 10082647221250 | 100 | 20082647221257 | 82647221253
26-1004PXCELF | LEAD FREE 1/2" PEX (F1960) X 3/8" OD COMPRESSION, STRAIGHT STOP VALVE, CP, 1/4 TURN | 12.621 | 0 | 0 | 10 | 10082647189031 | 200 | 20082647189038 | 82647189034
26-1004PXLF | LEAD FREE 1/2" PEX X 3/8"OD COMP CP 1/4"TURN STRAIGHT STOP OVAL HANDLE | 12.012 | 0 | 0 | 10 | 10082647098890 | 200 | 20082647098897 | 82647098893
26-1009BLF | LEAD FREE 1/2"SWT X 3/8"OD COMP 1/4"TURN ANGLE STOP OVAL HANDLE ROUGH BRASS | 14.931 | 0 | 0 | 10 | 10082647162010 | 200 | 20082647162017 | 82647162013
26-1009LF | LEAD FREE 1/2"SWT X 3/8"OD CP COMP 1/4"TURN ANGLE STOP OVAL HANDLE | 13.9125 | 0 | 0 | 10 | 10082647098906 | 200 | 20082647098903 | 82647098909
26-1010BLF | LEAD FREE 1/2"SWT X 3/8"OD COMP 1/4"TURN STRAIGHT STOP OVAL HANDLE ROUGH BRASS | 14.3115 | 0 | 0 | 10 | 10082647162003 | 200 | 20082647162000 | 82647162006
26-1010LF | LEAD FREE 1/2"SWT X 3/8"OD COMP 1/4"TURN STRAIGHT STOP OVAL HANDLE | 13.3665 | 0 | 0 | 10 | 10082647164830 | 200 | 20082647164837 | 82647164833
26-1012PXLF | LEAD FREE 1/2" PEX X 1/2 PEX CP 1/4"TURN STRAIGHT STOP OVAL HANDLE | 8.1375 | 0 | 0 | 10 | 10082647181950 | 200 | 20082647181957 | 82647181953
26-1014CPVCLF | LEAD FREE 5/8"OD CPVC COMP X 3/8"OD CP COMP 1/4" TURN STRAIGHT STOP OVAL HANDLE | 15.3405 | 0 | 0 | 10 | 10082647161983 | 200 | 20082647161980 | 82647161986
26-1014LF | LEAD FREE 5/8"OD COMP X 3/8"OD COMP CP 1/4" TURN STRAIGHT STOP OVAL HANDLE | 14.238 | 0 | 0 | 10 | 10082647098913 | 200 | 20082647098910 | 82647098916
26-1015PLF | 1/2" PRESS X 1/4" OD COMPRESSION, ANGLE STOP VALVE, CP, 1/4 TURN | 16.779 | 0 | 0 | 10 | 10082647221267 | 100 | 20082647221264 | 82647221260
26-1015PXCELF | LEAD FREE 1/2" PEX (F1960) X 1/4" OD COMPRESSION, ANGLE STOP VALVE, CP, 1/4 TURN | 13.4505 | 0 | 0 | 10 | 10082647189048 | 200 | 20082647189045 | 82647189041
26-1015PXLF | 1/2" PEX X 1/4" OD COMPRESSION, ANGLE STOP VALVE, CP, 1/4 TURN, LEAD FREE | 13.4505 | 0 | 0 | 10 | 10082647219257 | 200 | 20082647219254 | 8264721925
26-1016PLF | 1/2" PRESS X 1/4" OD COMPRESSION, STRAIGHT STOP VALVE, CP, 1/4 TURN | 16.779 | 0 | 0 | 10 | 10082647221274 | 100 | 20082647221271 | 82647221277
26-1016PXCELF | LEAD FREE 1/2" PEX (F1960) X 1/4" OD COMPRESSION, STRAIGHT STOP VALVE, CP, 1/4 TURN | 13.4505 | 0 | 0 | 10 | 10082647189055 | 200 | 20082647189052 | 82647189058
26-1016PXLF | 1/2" PEX X 1/4" OD COMPRESSION, STRAIGHT STOP VALVE, CP, 1/4 TURN, LEAD FREE | 13.4505 | 0 | 0 | 10 | 10082647219264 | 200 | 20082647219261 | 8264721926
26-1017LF | LEAD FREE 5/8" OD COMPRESSION X 1/4" OD COMPRESSION, CP, ANGLE STOP VALVE, 1/4 TURN | 9.6705 | 0 | 0 | 10 | 10082647189123 | 200 | 20082647189120 | 82647189126
26-1019BLF | LEAD FREE 5/8"OD COMP X 3/8"OD COMP 1/4" TURN ANGLE STOP OVAL HANDLE ROUGH BRASS | 15.687 | 0 | 0 | 10 | 10082647161969 | 200 | 20082647161966 | 82647161962
26-1019CPVCLF | LEAD FREE 5/8"OD CPVC COMP X 3/8"OD CP COMP 1/4" TURN ANGLE STOP OVAL HANDLE | 15.54 | 0 | 0 | 10 | 10082647161976 | 200 | 20082647161973 | 82647161979
26-1019LF | LEAD FREE 5/8"OD COMP X 3/8"OD CP COMP 1/4" TURN ANGLE STOP OVAL HANDLE | 14.658 | 0 | 0 | 10 | 10082647098920 | 200 | 20082647098927 | 82647098923
26-1023LF | LEAD FREE 5/8" OD COMPRESSION X 1/2" OD COMPRESSION, ANGLE STOP VALVE, CP, 1/4 TURN | 10.8255 | 0 | 0 | 10 | 10082647189130 | 200 | 20082647189137 | 82647189133
26-1040LF | LEAD FREE 1/2"SWT X 3/8"OD CP COMP 1/4"TURN STRAIGHT STOP OVAL HANDLE WITH 5"CP EXT TUBE & BELL ESC. | 17.1675 | 0 | 0 | 10 | 10082647162034 | 200 | 20082647162031 | 82647162037
26-1041LF | LEAD FREE 1/2"SWT X 3/8"OD CP COMP 1/4"TURN ANGLE STOP OVAL HANDLE WITH 5"CP EXT TUBE AND BELL | 17.64 | 0 | 0 | 10 | 10082647162027 | 200 | 20082647162024 | 82647162020
26-2001BLF | LEAD FREE 5/8"OD COMP X 3/8"OD COMP X 3/8"OD COMP 1/4 TURN DUAL ANGLE STOP OVAL HANDLE ROUGH BRASS | 20.013 | 0 | 0 | 10 | 10082647161990 | 200 | 20082647161997 | 82647161993
26-2001LF | LEAD FREE 5/8"OD COMP X 3/8"OD COMP X 3/8"OD COMP 1/4 TURN DUAL ANGLE STOP OVAL HANDLE | 17.4405 | 0 | 0 | 10 | 10082647164847 | 200 | 20082647164844 | 82647164840
26-2009BLF | LEAD FREE 1/2"C X 3/8"OD X 3/8"OD RB ANGLE STOP 1/4 TURN | 9.093 | 0 | 0 | 10 | 10082647189109 | 200 | 20082647189106 | 82647189102
26-2021BLF | LEAD FREE 5/8" OD COMPRESSION X 3/8" OD COMPRESSION X 1/4" OD COMPRESSION, ANGLE, DUAL STOP, ROUGH BRASS, 1/4 TURN | 10.353 | 0 | 0 | 10 | 10082647189116 | 200 | 20082647189113 | 82647189119
LEAD FREE MULTI-TURN SUPPLY STOP
29-1001LF | LEAD FREE 3/8" FIP X 3/8" OD COMPRESSION, ANGLE STOP VALVE, CP, MULTI-TURN | 8.883 | 0 | 0 | 10 | 10082647139234 | 200 | 20082647139231 | 82647139237
29-1001LKLF | LEAD FREE 3/8" FIP X 3/8" OD COMPRESSION, ANGLE STOP VALVE, LOOSE KEY, CP, MULTI-TURN | 11.781 | 0 | 0 | 10 | 10082647189161 | 200 | 20082647189168 | 82647189164
29-1002LF | LEAD FREE 3/8" FIP X 3/8" OD COMPRESSION, STRAIGHT STOP VALVE, CP, MULTI-TURN | 10.7205 | 0 | 0 | 10 | 10082647163468 | 200 | 20082647163465 | 82647163461
29-1003BLF | LEAD FREE 1/2" FIP X 3/8" OD COMPRESSION, ANGLE STOP VALVE, ROUGH BRASS, MULTI-TURN | 9.366 | 0 | 0 | 10 | 10082647163475 | 200 | 20082647163472 | 82647163478
29-1003LF | LEAD FREE 1/2" FIP INLET X 3/8" OD COMPRESSION, ANGLE STOP VALVE, CP, MULTI-TURN | 9.975 | 0 | 0 | 10 | 10082647098937 | 200 | 20082647098934 | 82647098930
29-1003LKLF | LEAD FREE 1/2" FIP X 3/8" OD COMPRESSION, ANGLE STOP VALVE, LOOSE KEY, CP, MULTI TURN | 12.894 | 0 | 0 | 10 | 10082647189147 | 200 | 20082647189144 | 82647189140
29-1003PXLF | LEAD FREE 1/2" PEX X 3/8" OD COMPRESSION, ANGLE STOP VALVE, CP, MULTI-TURN | 10.7205 | 0 | 0 | 10 | 10082647098944 | 200 | 20082647098941 | 82647098947
29-1004LF | LEAD FREE 1/2" FIP X 3/8" OD COMPRESSION, STRAIGHT STOP VALVE, CP, MULTI-TURN | 11.739 | 0 | 0 | 10 | 10082647098951 | 200 | 20082647098958 | 82647098954
29-1004PXLF | LEAD FREE 1/2" PEX X 3/8" OD COMPRESSION, STRAIGHT STOP VALVE, CP, MULTI-TURN | 12.2115 | 0 | 0 | 10 | 10082647098975 | 200 | 20082647098972 | 82647098978
29-1009BLF | LEAD FREE 1/2" SWEAT X 3/8" OD COMPRESSION, ANGLE STOP VALVE, ROUGH BRASS, MULTI-TURN | 9.639 | 0 | 0 | 10 | 10082647163482 | 200 | 20082647163489 | 82647163485
29-1009LF | LEAD FREE 1/2" SWEAT X 3/8"OD COMPRESSION, ANGLE STOP VALVE, CP, MULTI-TURN | 10.4475 | 0 | 0 | 10 | 10082647098982 | 200 | 20082647098989 | 82647098985
29-1009LKLF | LEAD FREE 1/2" SWEAT X 3/8" OD COMPRESSION ANGLE STOP VALVE, LOOSE KEY, CP, MULTI-TURN | 11.592 | 0 | 0 | 10 | 10082647189154 | 200 | 20082647189151 | 82647189157
29-1010BLF | LEAD FREE 1/2" SWEAT X 3/8" OD COMPRESSION, STRAIGHT STOP VALVE, ROUGH BRASS, MULTI-TURN | 11.13 | 0 | 0 | 10 | 10082647163499 | 200 | 20082647163496 | 82647163492
29-1010LF | LEAD FREE 1/2" SWEAT X 3/8" OD COMPRESSION, STRAIGHT STOP VALVE, CP, MULTI-TURN | 11.9385 | 0 | 0 | 10 | 10082647163505 | 200 | 20082647163502 | 82647163508
29-1014CPVCLF | LEAD FREE 5/8" OD CPVC X 3/8" OD COMPRESSION, STRAIGHT STOP VALVE, CP, MULTI-TURN | 15.687 | 0 | 0 | 10 | 10082647163512 | 200 | 20082647163519 | 82647163515
29-1014LF | LEAD FREE 5/8" OD COMPRESSION X 3/8"OD COMPRESSION, STRAIGHT STOP VALVE, CP, MULTI-TURN | 12.4215 | 0 | 0 | 10 | 10082647098999 | 200 | 20082647098996 | 82647098992
29-1015BLF | LEAD FREE 1/2" SWEAT X 1/4" OD COMPRESSION, ANGLE STOP VALVE, ROUGH BRASS, MULTI-TURN | 7.7175 | 0 | 0 | 10 | 10082647189086 | 200 | 20082647189083 | 82647189089
29-1015LF | LEAD FREE 1/2" SWEAT X 1/4" OD COMPRESSION, ANGLE STOP VALVE, CP, MULTI-TURN | 7.8015 | 0 | 0 | 10 | 10082647189093 | 200 | 20082647189090 | 82647189096
29-1019BLF | LEAD FREE 5/8" OD COMPRESSION X3/8" OD COMPRESSION, ANGLE STOP VALVE, ROUGH BRASS, MULTI-TURN | 9.975 | 0 | 0 | 10 | 10082647163529 | 200 | 20082647163526 | 82647163522
29-1019CPVCLF | LEAD FREE 5/8" OD CPVC X 3/8" OD COMPRESSION, ANGLE STOP VALVE, CP, MULTI-TURN | 13.5765 | 0 | 0 | 10 | 10082647163536 | 200 | 20082647163533 | 82647163539
29-1019LF | LEAD FREE 5/8" OD COMPRESSION X 3/8" OD COMPRESSION, ANGLE STOP VALVE, CP, MULTI-TURN | 10.8675 | 0 | 0 | 10 | 10082647099002 | 200 | 20082647099009 | 82647099005
29-1040LF | LEAD FREE 1/2" SWEAT X 3/8"OD COMPRESSION WITH 5" EXTENSION AND BELL ESCUTCHEON, ANGLE STOP VALVE, CP, MULTI-TURN | 16.6845 | 0 | 0 | 10 | 10082647163543 | 100 | 20082647163540 | 82647163546
29-1041LF | LEAD FREE 1/2" SWEAT X 3/8"OD COMPRESSION WITH 5" EXTENSION AND BELL ESCUTCHEON, STRAIGHT STOP VALVE, CP, MULTI-TURN | 17.367 | 0 | 0 | 10 | 10082647163550 | 100 | 20082647163557 | 82647163553
29-1575LF | LEAD FREE 5/8" OD COMPRESSION X 5/8" OD COMPRESSION, STRAIGHT STOP VALVE, CP, MULTI-TURN | 13.65 | 0 | 0 | 10 | 10082647163567 | 200 | 20082647163564 | 82647163560
29-2001BLF | LEAD FREE 5/8" OD COMPRESSION X 3/8" OD COMPRESSION X 3/8" COMPRESSION, ANGLE, DUAL STOP VALVE, ROUGH BRASS, MULTI-TURN | 11.739 | 0 | 0 | 10 | 10082647099033 | 200 | 20082647099030 | 82647099036
29-2001LF | LEAD FREE 5/8" OD COMPRESSION X 3/8" OD COMPRESSION X 3/8" COMPRESSION, ANGLE, DUAL STOP VALVE, CP, MULTI-TURN | 12.8205 | 0 | 0 | 10 | 10082647099019 | 200 | 20082647099016 | 82647099012
29-2001PXLF | LEAD FREE 1/2" PEX X 3/8" OD COMPRESSION X 3/8" COMPRESSION, ANGLE, DUAL STOP VALVE, CP, MULTI-TURN | 13.041 | 0 | 0 | 10 | 10082647163574 | 200 | 20082647163571 | 82647163577
29-2003BLF | LEAD FREE 1/2" FIP X 3/8" OD X 3/8" OD COMPRESSION, ANGLE, DUAL STOP VALVE, ROUGH BRASS, MULTI-TURN | 8.568 | 0 | 0 | 10 | 10082647189062 | 200 | 20082647189069 | 82647189065
29-2003LF | LEAD FREE 1/2" FIP X 3/8" OD X 3/8" OD COMPRESSION, ANGLE, DUAL STOP VALVE, CP, MULTI-TURN | 8.568 | 0 | 0 | 10 | 10082647189079 | 200 | 20082647189076 | 82647189072
BRASS CLOSET FLANGE
62FCLV | CLEVELAND CODE CLOSET FLANGE | 19.834 | 0 | 0 | 1 | 10082647620008 | 50 | 20082647620005 | 82647620001
CF-100 | 4 BRASS CLOSET FLANGE FOR LEAD | 17.95 | 0 | 0 | 1 | 10082647027692 | 50 | 20082647027699 | 82647027695
CF-200 | 4 X 3 DWV CLOSET FLANGE | 30.046 | 0 | 0 | 1 | 10082647027722 | 50 | 20082647027729 | 82647027725
CF-250 | 3 SWEAT CLOSET FLANGE | 27.446 | 0 | 0 | 1 | 10082647027739 | 50 | 20082647027736 | 82647027732
CF-300 | 4 DEEP SEAL CLOSET FLANGE | 23.068 | 0 | 0 | 1 | 10082647027746 | 50 | 20082647027743 | 82647027749
CF-400 | 4 X 3 CLOSET FLANGE FOR LEAD | 29.308 | 0 | 0 | 1 | 10082647027753 | 50 | 20082647027750 | 82647027756
CF-500 | 4 OFFSET BRASS CLOSET FLANGE | 32.635 | 0 | 0 | 10 | 10082647027760 | 50 | 20082647027767 | 82647027763
BOILER TUBE PLUGS |  |  | 0
BTP-150 | 1-1/2" C.I. BOILER TUBE PLUGS | 9.153 | 0 | 0 | 1 | 10082647027388 | 60 | 20082647027385 | 82647027381
BTP-200 | 2" C.I. BOILER TUBE PLUGS | 12.238 | 0 | 0 | 1 | 10082647027395 | 36 | 20082647027392 | 82647027398
BTP-250 | 2-1/2" C.I. BOILER TUBE PLUGS | 12.238 | 0 | 0 | 1 | 10082647027401 | 30 | 20082647027408 | 82647027404
BTP-300 | 3" C.I.BOILER TUBE PLUGS | 14.08 | 0 | 0 | 1 | 10082647027418 | 24 | 20082647027415 | 82647027411
QUICK-SET NH FLOOR FLANGE AND BEND
CFCI-320 | 3"X2" CI "QUICK SET" FLOOR FLANGE | 31.595 | 0 | 0 | 1 | 10082647081724 | 200 | 20082647081721 | 82647081727
CFCI-420 | 4"X2" CI "QUICK SET" FLOOR FLANGE 9451 | 34.827 | 0 | 0 | 1 | 10082647077864 | 200 | 20082647077861 | 82647077867
CFCI-420O | 4" X 2" QUIK SET OFFSET CLOSET FLANGE WITH S/S BOLTS AND NUTS | 74.094 | 0 | 0 | 1 | 10082647111025 | 16 | 20082647111022 | 82647111028
CFCI-430 | 4" X 3" CI CLOSET FLANGE | 57.54 | 0 | 0 | 1 | 10082647083735 | 200 | 20082647083732 | 82647083738
CFCI-440 | 4"X 4"CI CLOSET FLANGE | 59.766 | 0 | 0 | 1 | 10082647081717 | 200 | 20082647081714 | 82647081710
CICB1116 | 4"X16" NO-HUB CLOSET BEND | 123.871 | 0 | 0 | 1 | 10082647091549 | 80 | 20082647091546 | 82647091542
BACK WATER VALVE
CIBWV08 | 2" NO-HUB BACK WATER VALVE | 92.705 | 0 | 0 | 1 | 10082647059099 | 170 | 20082647059096 | 82647059092
CIBWV10 | 3"NO-HUB BACK WATER VALVE | 147.996 | 0 | 0 | 1 | 10082647091525 | 128 | 20082647091522 | 82647091528
CIBWV11 | 4" NO-HUB BACK WATER VALVE | 235.017 | 0 | 0 | 1 | 10082647091532 | 75 | 20082647091539 | 82647091535
BRASS FERRULE
CBF-300 | 3" X 3" BRASS FERRULE W/O BEAD | 24.059 | 0 | 0 | 1 | 10082647096575 | 32 | 20082647096572 | 82647096578
CBF-340 | 3" X 4.1/2" BRASS FERRULE W/O BEAD ID 4.1/2" (TOLERANCE 4.3/16-4.1/4) | 30.24 | 0 | 0 | 1 | 10082647096582 | 32 | 20082647096589 | 82647096585
CBF-400 | 4X3 BRASS FERRULE W/O BEAD | 35.683 | 0 | 0 | 1 | 10082647027593 | 32 | 20082647027590 | 82647027596
CBF-400B | 4X3 BRASS FERRULE WITH BEAD | 30.575 | 0 | 0 | 1 | 10082647082868 | 40 | 20082647082865 | 82647082861
CBF-440 | 4X4.1/4 BRASS FERRULE W/O BEAD | 38.889 | 0 | 0 | 1 | 10082647027609 | 32 | 20082647027606 | 82647027602
CBF-440B | 4X4.1/4 BRASS FERRULE W/BEAD | 42.009 | 0 | 0 | 1 | 10082647027616 | 32 | 20082647027613 | 82647027619
CBF-550B | 5" 40 OZ CAST BRASS FERRULE WITH BEAD | 57.65 | 0 | 0 | 1 | 10082647027647 | 500 | 20082647027644 | 82647027640
CI DRAINS AND FLOOR SINKS
CIFD15NH2 | 2" NO HUB ADJUSTABLE FLOOR DRAIN W/4" CP BRASS STRAINER | 183.004 | 0 | 0 | 1 | 10082647155364 | 104 | 20082647155361 | 82647155367
CIFD15NH3 | 3" NO HUB ADJUSTABLE FLOOR DRAIN W/4" CP BRASS STRAINER | 183.004 | 0 | 0 | 1 | 10082647155371 | 104 | 20082647155378 | 82647155374
CIFD15NH4 | 4" NO HUB ADJUSTABLE FLOOR DRAIN W/4" CP BRASS STRAINER | 183.004 | 0 | 0 | 1 | 10082647155388 | 104 | 20082647155385 | 82647155381
CIFD6NH2 | 2" NO HUB FLOOR DRAIN W/2 S/S BOLTS | 104.559 | 0 | 0 | 1 | 10082647155302 | 200 | 20082647155309 | 82647155305
CIFD6NH3 | 3" NO HUB FLOOR DRAIN W 2 S/S BOLTS | 104.559 | 0 | 0 | 1 | 10082647155319 | 200 | 20082647155316 | 82647155312
CIFD6NH4 | 4" NO HUB FLOOR DRAIN W/2 S/S BOLTS | 104.559 | 0 | 0 | 1 | 10082647155326 | 200 | 20082647155323 | 82647155329
CIFS55NH2 | 2" NO HUB ENAMELED FLOOR SINK 12X12X6 DEEP W/FULL PORCELAIN GRATE AND ALUMINUM DOME STR. | 308.716 | 0 | 0 | 1 | 10082647155395 | 1 | 20082647155392 | 82647155398
CIFS55NH3 | 3" NO HUB ENAMELED FLOOR SINK 12X12X6 DEEP W/FULL PORCELIAN GRATE AND ALUMINUM DOME STR. | 308.716 | 0 | 0 | 1 | 10082647155401 | 27 | 20082647155408 | 82647155404
CIFS55NH4 | 4" NO HUB ENAMELED FLOOR SINK 12X12X6 DEEP W/FULL PORCELAIN GRATE AND ALUMINUM DOME STR. | 308.716 | 0 | 0 | 1 | 10082647155418 | 27 | 20082647155415 | 82647155411
CIRD1NH3 | 3" NO HUB ROOF DRAIN W/GRAVEL GUARD AND METAL DOME | 142.437 | 0 | 0 | 1 | 10082647155340 | 64 | 20082647155347 | 82647155343
CIRD1NH4 | 4" NO HUB ROOF DRAIN W/GRAVEL GUARD AND METAL DOME | 142.437 | 0 | 0 | 1 | 10082647155357 | 64 | 20082647155354 | 82647155350
CISDCP2IP | 2" IP HEAVY DUTY SHOWER DRAIN- CP STRAINER W/BOLT DOWN RING W/4-7/8 STR | 95.835 | 0 | 0 | 1 | 10082647155289 | 225 | 20082647155286 | 82647155282
CISDCP2NH | 2"NO HUB HEAVY DUTY SHOWER DRAIN-CP STRAINER W/BOLT DOWN RING W/4-7/8OD STR | 90.637 | 0 | 0 | 1 | 10082647155265 | 225 | 20082647155262 | 82647155268
CISDCP2NHSQ | 2"NO HUB HEAVY DUTY SHOWER DRAIN CP SQUARE STRAINER W/BOLT DOWN RING W/4-7/8OD | 105.519 | 0 | 0 | 1 | 10082647203768 | 225 | 20082647203765 | 82647203761
CISDCP3NH | 3"NO HUB HEAVY DUTY SHOWER DRAIN-CP STRAINER W/BOLT DOWN RING W/4-7/8OD STR | 101.361 | 0 | 0 | 1 | 10082647073989 | 225 | 20082647073986 | 82647073982
CISDCPSTR | CHROME PLATED STRAINER ONLY FOR 2" HEAVY DUTY SHOWER DRAIN | 53.924 | 0 | 0 | 1 | 10082647003924 | 40 | 20082647003921 | 82647003927
CISDPB2IP | 2"IP HEAVY DUTY SHOWER DRAIN-PB STRAINER W/BOLT DOWN RING W/4-7/8OD STR | 95.835 | 0 | 0 | 1 | 10082647155296 | 225 | 20082647155293 | 82647155299
CISDPB2NH | 2"NO HUB HEAVY DUTY SHOWER DRAIN-PB STRAINER W/BOLT DOWN RING W/4-7/8OD STR | 105.881 | 0 | 0 | 1 | 10082647155272 | 225 | 20082647155279 | 82647155275
CISDPBSTR | POLISHED BRASS STRAINER ONLY FOR 2" HEAVY DUTY SHOWER DRAIN | 49.686 | 0 | 0 | 1 | 10082647003931 | 40 | 20082647003938 | 82647003934
CISS12 | 12"RD FLOOR SINK W/2"IP OUTLET | 66.478 | 0 | 0 | 1 | 10082647091518 | 200 | 20082647091515 | 82647091511
BRASS TRAP PLUGS
CP-125 | 1-1/4" BRS TRAP PLG RAISED HD | 4.077 | 0 | 0 | 100 | 10082647094557 | 500 | 20082647094554 | 82647094550
CP-150 | 1-1/2" BRS TRAP PLG RAISED HD | 4.221 | 0 | 0 | 100 | 10082647027890 | 200 | 20082647027897 | 82647027893
CP-200 | 2" BRS TRAP PLG RAISED HD | 6.665 | 0 | 0 | 100 | 10082647027906 | 200 | 20082647027903 | 82647027909
CP-250 | 2-1/2" BRS TRAP PLG RAISED HD | 9.12 | 0 | 0 | 50 | 10082647027913 | 200 | 20082647027910 | 82647027916
CP-300 | 3" BRS TRAP PLG RAISED HD | 11.491 | 0 | 0 | 20 | 10082647027920 | 160 | 20082647027927 | 82647027923
CP-350 | 3-1/2" BRS TRAP PLG RAISED HD | 15.942 | 0 | 0 | 20 | 10082647027937 | 120 | 20082647027934 | 82647027930
CP-400 | 4" BRS TRAP PLG RAISED HD | 19.208 | 0 | 0 | 10 | 10082647027944 | 80 | 20082647027941 | 82647027947
CP-500 | 5" BRS TRAP PLG RAISED HD | 31.074 | 0 | 0 | 1 | 10082647027951 | 60 | 20082647027958 | 82647027954
CP-600 | 6" BRS TRAP PLG RAISED HD | 41.683 | 0 | 0 | 1 | 10082647027968 | 40 | 20082647027965 | 82647027961
CP-800 | 8" BRS TRAP PLG RAISED HD | 82.531 | 0 | 0 | 1 | 10082647027975 | 10 | 20082647027972 | 82647027978
CPC-150 | 1-1/2" BRS TRAP PLG C-SUNK HD | 4.972 | 0 | 0 | 100 | 10082647091433 | 400 | 20082647091430 | 82647091436
CPC-200 | 2" BRS TRAP PLG C-SUNK HD | 7.27 | 0 | 0 | 100 | 10082647091440 | 200 | 20082647091447 | 82647091443
CPC-250 | 2-1/2" BRS TRAP PLG C-SUNK HD | 9.35 | 0 | 0 | 50 | 10082647091457 | 200 | 20082647091454 | 82647091450
CPC-300 | 3" BRS TRAP PLG C-SUNK HD | 12.676 | 0 | 0 | 20 | 10082647091464 | 160 | 20082647091461 | 82647091467
CPC-350 | 3-1/2" BRS TRAP PLG C-SUNK HD | 15.508 | 0 | 0 | 20 | 10082647091471 | 120 | 20082647091478 | 82647091474
CPC-400 | 4" BRS TRAP PLG C-SUNK HD | 19.439 | 0 | 0 | 10 | 10082647091488 | 80 | 20082647091485 | 82647091481
CPC-500 | 5" BRS TRAP PLG C-SUNK HD | 30.941 | 0 | 0 | 10 | 10082647091495 | 60 | 20082647091492 | 82647091498
CPC-600 | 6" BRS TRAP PLG C-SUNK HD | 44.707 | 0 | 0 | 10 | 10082647091501 | 40 | 20082647091508 | 82647091504
CPC-800 | 8" BRS TRAP PLG C-SUNK HD | 77.269 | 0 | 0 | 10 | 10082647094472 | 20 | 20082647094479 | 82647094475
DECK PLATE CLEANOUT
DKP-201 | 2" CAST BRASS DECK PLATE CLEANOUT | 53.984 | 0 | 0 | 1 | 10082647028453 | 40 | 20082647028450 | 82647028456
DKP-301 | 3" CAST BRASS DECK PLATE CLEANOUT | 68.741 | 0 | 0 | 1 | 10082647028460 | 20 | 20082647028467 | 82647028463
DKP-401 | 4"CAST BRASS DECK PLATE CLEANOUT | 105.598 | 0 | 0 | 1 | 10082647028477 | 20 | 20082647028474 | 82647028470
DKP-501 | 5"CAST BRASS DECK PLATE CLEANOUT | 176.566 | 0 | 0 | 1 | 10082647028484 | 8 | 20082647028481 | 82647028487
DKP-601 | 6"CAST BRASS DECK PLATE CLEANOUT | 235.449 | 0 | 0 | 1 | 10082647129150 | 8 | 20082647129157 | 82647129153
CI CLOSET FLANGE
FCI-420 | 4" X 2" CI CLOSET FLANGE-CAULK | 26.905 | 0 | 0 | 1 | 10082647096001 | 8 | 20082647096008 | 82647096004
IRON BODY CLEANOUT
IBC-43 | 4" X 3 IRON BODY CLEANOUT RAISED | 39.042 | 0 | 0 | 1 | 10082647029580 | 300 | 20082647029587 | 82647029583
IBC-435 | 4" X 3 1/2 IRON BODY CLEANOUT | 41.9 | 0 | 0 | 1 | 10082647029597 | 300 | 20082647029594 | 82647029590
IBC-435CS | 4" X 3 1/2 IRON BODY CLEANOUT COUNTERSUNK BRASS PLUG | 41.9 | 0 | 0 | 1 | 10082647184937 | 300 | 20082647184934 | 82647184930
IBC-43CS | 4" X 3" IRON BODY CLEANOUT COUNTERSUNK BRASS PLUG | 40.251 | 0 | 0 | 1 | 10082647079745 | 300 | 20082647079742 | 82647079748
IBC-65 | 6" X 5" IRON BODY CLEANOUT 5" RAISED BRASS PLUG | 127.814 | 0 | 0 | 1 | 10082647162553 | 170 | 20082647162550 | 82647162556
IBC-65CS | 6" X 5" IRON BODY CLEANOUT 5" COUNTERSUNK BRASS PLUG | 127.814 | 0 | 0 | 1 | 10082647184920 | 170 | 20082647184927 | 82647184923
LEAD FITALL PLUG
LFP200 | 2" LEAD FITALL PLUG | 15.027 | 0 | 0 | 24 | 10082647087320 | 48 | 20082647087327 | 82647087323
LFP250 | 2 1/2 LEAD FITALL PLUG | 15.754 | 0 | 0 | 1 | 10082647087337 | 48 | 20082647087334 | 82647087330
LFP300 | 3" LEAD FITALL PLUG | 20.109 | 0 | 0 | 1 | 10082647087344 | 24 | 20082647087341 | 82647087347
LFP350 | 3 1/2 LEAD FITALL PLUG | 20.444 | 0 | 0 | 1 | 10082647087351 | 24 | 20082647087358 | 82647087354
LFP400 | 4" LEAD FITALL PLUG | 24.152 | 0 | 0 | 1 | 10082647087368 | 24 | 20082647087365 | 82647087361
LFP450 | 4 1/2 LEAD FITALL PLUG | 28.656 | 0 | 0 | 1 | 10082647087405 | 12 | 20082647087402 | 82647087408
LFP500 | 5" LEAD FITALL PLUG | 37.33 | 0 | 0 | 1 | 10082647087382 | 12 | 20082647087389 | 82647087385
LFP550 | 5.1/2" LEAD FITALL PLUG | 43.255 | 0 | 0 | 1 | 10082647091563 | 12 | 20082647091560 | 82647091566
LFP600 | 6" LEAD FITALL PLUG | 52.472 | 0 | 0 | 1 | 10082647087399 | 12 | 20082647087396 | 82647087392
LEAD FREE FY HOSE BIBBS
FY-675LF | LEAD FREE C.P.PLAIN END BIBB-FIP-1/2" | 18.2526 | 0 | 0 | 12 | 10082647110479 | 72 | 20082647110476 | 82647110472
FY-680LF | LEAD FREE C.P.HOSE BIBB 1/2" FIP-FLANGED | 18.7006 | 0 | 0 | 12 | 10082647110523 | 72 | 20082647110520 | 82647110526
FY-681LF | LEAD FREE BIBB, CP, ADJ, PE 1/2" | 21.4827 | 0 | 0 | 12 | 10082647110578 | 72 | 20082647110575 | 82647110571
FY-682LF | LEAD FREE BIBB CP ADJ HE 1/2" | 22.2443 | 0 | 0 | 12 | 10082647110585 | 72 | 20082647110582 | 82647110588
FY-690LF | LEAD FREE C.P.HOSE BIBB 1/2" - MIP | 15.0349 | 0 | 0 | 12 | 10082647110608 | 72 | 20082647110605 | 82647110601
FY-691LF | LEAD FREE BIBB CP MALE PE 1/2" | 14.2733 | 0 | 0 | 12 | 10082647110615 | 72 | 20082647110612 | 82647110618
FY-692LF | LEAD FREE BIBB; RB; MALE; PE 1/2" | 11.7454 | 0 | 0 | 12 | 10082647110639 | 72 | 20082647110636 | 82647110632
FY-695LF | LEAD FREE BIBB, CP, MALE, HE 3/4" | 16.5469 | 0 | 0 | 12 | 10082647110660 | 72 | 20082647110667 | 82647110663
HOSE BIBBS |  |  | 0
FY-675 | C.P.PLAIN END BIBB-FIP-1/2" NOT FOR POTABLE WATER | 17.6796 | 0 | 0 | 12 | 10082647028910 | 72 | 20082647028917 | 82647028913
FY-680 | C.P.HOSE BIBB 1/2" FIP-FLANGED NOT FOR POTABLE WATER | 16.8739 | 0 | 0 | 12 | 10082647028927 | 72 | 20082647028924 | 82647028920
FY-681 | BIBB, CP, ADJ, PE 1/2" NOT FOR POTABLE WATER | 17.2476 | 0 | 0 | 12 | 10082647028934 | 72 | 20082647028931 | 82647028937
FY-682 | BIBB CP ADJ HE 1/2" NOT FOR POTABLE WATER | 20.0794 | 0 | 0 | 12 | 10082647028941 | 72 | 20082647028948 | 82647028944
FY-691 | BIBB CP MALE PE 1/2" NOT FOR POTABLE WATER | 11.6316 | 0 | 0 | 12 | 10082647028996 | 72 | 20082647028993 | 82647028999
FY-691PB | BIBB PB MALE PE 1/2" SAMPLING VALVE NOT FOR POTABLE WATER | 10.1844 | 0 | 0 | 12 | 10082647039442 | 72 | 20082647039449 | 82647039445
FY-692 | BIBB; RB; MALE; PE 1/2" NOT FOR POTABLE WATER | 9.558 | 0 | 0 | 12 | 10082647029009 | 72 | 20082647029006 | 82647029002
FY-695 | BIBB, CP, MALE, HE 3/4" NOT FOR POTABLE WATER | 13.3704 | 0 | 0 | 12 | 10082647029016 | 144 | 20082647029013 | 82647029019
ESCUTCHEONS
BPF125OD | CP BOX ESCUTCHEON FOR 1-1/4OD | 1.4214 | 0 | 0 | 50 | 10082647147550 | 200 | 20082647147557 | 82647147553
BPF150OD | CP BOX ESCUTCHEON FOR 1-1/2OD FITS TUBULAR BRASS | 1.4214 | 0 | 0 | 50 | 10082647147567 | 200 | 20082647147564 | 82647147560
BPFT07 | CP BOX ESCUTCHEON FOR 1-1/2IP | 1.4214 | 0 | 0 | 50 | 10082647147543 | 200 | 20082647147540 | 82647147546
ESCC03 | CP FLAT ESCUTCHEON FOR 1/2CXC | 0.309 | 0 | 0 | 500 | 10082647147475 | 1000 | 20082647147472 | 82647147478
ESCC04 | CP FLAT ESCUTCHEON FOR 3/4CXC | 0.309 | 0 | 0 | 500 | 10082647147482 | 1000 | 20082647147489 | 82647147485
ESCP03S | 1/2" CP DIE CAST ESC W/SET SCREW | 4.1406 | 0 | 0 | 1 | 10082647006574 | 100 | 20082647006571 | 82647006577
ESCT02 | CP FLAT ESCUTCHEON FOR 3/8IP | 0.309 | 0 | 0 | 500 | 10082647147444 | 1000 | 20082647147441 | 82647147447
ESCT03 | CP FLAT ESCUTCHEON FOR 1/2IP | 0.309 | 0 | 0 | 500 | 10082647147451 | 1000 | 20082647147458 | 82647147454
ESCT04 | CP FLAT ESCUTCHEON FOR 3/4IP | 0.309 | 0 | 0 | 500 | 10082647147468 | 1000 | 20082647147465 | 82647147461
ESCT05 | CP FLAT ESCUTCHEON FOR 1"IP | 0.4326 | 0 | 0 | 100 | 10082647147499 | 500 | 20082647147496 | 82647147492
ESCT06 | CP FLAT ESCUTCHEON FOR 1-1/4IP | 0.4326 | 0 | 0 | 100 | 10082647147505 | 500 | 20082647147502 | 82647147508
ESCT07 | CP FLAT ESCUTCHEON FOR 1-1/2IP | 0.5562 | 0 | 0 | 100 | 10082647147512 | 1000 | 20082647147519 | 82647147515
ESCT08 | CP FLAT ESCUTCHEON FOR 2"IP | 0.8652 | 0 | 0 | 100 | 10082647147529 | 1000 | 20082647147526 | 82647147522
FCPC03 | CP F & C PLATE FOR 1/2CXC | 1.236 | 0 | 0 | 12 | 10082647147390 | 288 | 20082647147397 | 82647147393
FCPC04 | CP F & C PLATE FOR 3/4 CXC | 1.0506 | 0 | 0 | 12 | 10082647147406 | 288 | 20082647147403 | 82647147409
FCPC05 | CP F & C PLATE FOR 1" CXC | 1.0506 | 0 | 0 | 12 | 10082647147413 | 288 | 20082647147410 | 82647147416
FCPC06 | CP F & C PLATE FOR 1-1/4CXC | 1.1124 | 0 | 0 | 12 | 10082647147420 | 288 | 20082647147427 | 82647147423
FCPC07 | CP F & C PLATE FOR 1-1/2CXC | 1.1124 | 0 | 0 | 12 | 10082647147437 | 288 | 20082647147434 | 82647147430
FCPT02 | CP F & C PLATE FOR 3/8 IP | 1.236 | 0 | 0 | 12 | 10082647147321 | 288 | 20082647147328 | 82647147324
FCPT03 | CP F & C PLATE FOR 1/2IP | 1.0506 | 0 | 0 | 12 | 10082647147338 | 288 | 20082647147335 | 82647147331
FCPT04 | CP F & C PLATE FOR 3/4" IP | 1.0506 | 0 | 0 | 12 | 10082647147345 | 288 | 20082647147342 | 82647147348
FCPT05 | CP F & C PLATE FOR 1" IP | 1.1124 | 0 | 0 | 12 | 10082647147352 | 288 | 20082647147359 | 82647147355
FCPT06 | CP F & C PLATE FOR 1-1/4IP | 1.236 | 0 | 0 | 12 | 10082647147369 | 288 | 20082647147366 | 82647147362
FCPT07 | CP F & C PLATE FOR 1-1/2IP | 1.236 | 0 | 0 | 12 | 10082647147574 | 288 | 20082647147571 | 82647147577
FCPT08 | CP F & C PLATE FOR 2" IP | 1.4729 | 0 | 0 | 12 | 10082647147383 | 144 | 20082647147380 | 82647147386
PVC CUTTERS
PC-05 | 1/2" TO 1-1/4" PVC PIPE CUTTER | 55.5994 | 0 | 0 | 1 | 10082647129433 | 60 | 20082647129430 | 82647129436
PC-05B | BLADE ONLY FOR PC-05 PVC CUTTER | 23.8445 | 0 | 0 | 1 | 10082647129471 | 200 | 20082647129478 | 82647129474
PC-05N | 1/2" TO 1-1/4" PVC PIPE CUTTER ECONOMY | 27.4186 | 0 | 0 | 1 | 10082647129440 | 60 | 20082647129447 | 82647129443
PC-05NB | BLADE ONLY FOR PC-05N ECON. CUTTER | 13.0089 | 0 | 0 | 1 | 10082647129488 | 200 | 20082647129485 | 82647129481
PC-08 | 1-1/4" - 2" PVC PIPE CUTTERS | 184.1331 | 0 | 0 | 1 | 10082647129457 | 20 | 20082647129454 | 82647129450
PC-08B | 1-1/4" - 2" REPLACEMENT BLADE | 55.6406 | 0 | 0 | 1 | 10082647129464 | 1 | 20082647129461 | 82647129467
WING NUT TEST PLUG |  |  | 0
TP-07 | 1-1/2" WING NUT TEST PLUG W/RUBBER GASKET | 2.4 | 0 | 0 | 6 | 10082647094649 | 36 | 20082647094646 | 82647094642
TP-08 | 2" WING NUT TEST PLUG W/RUBBER GASKET | 2.64 | 0 | 0 | 6 | 10082647094656 | 36 | 20082647094653 | 82647094659
TP-10 | 3" WING NUT TEST PLUG W/RUBBER GASKET | 4.58 | 0 | 0 | 6 | 10082647094663 | 36 | 20082647094660 | 82647094666
TP-11 | 4" WING NUT TEST PLUG W/RUBBER GASKET | 5.63 | 0 | 0 | 1 | 10082647094670 | 36 | 20082647094677 | 82647094673
TP-13 | 6" WING NUT TEST PLUG | 27.23 | 0 | 0 | 1 | 10082647094687 | 20 | 20082647094684 | 82647094680
LEAD FREE STAINLESS STEEL BRAIDED CONNECTORS
DDF-12LF | LEAD FREE 3/8" OD COMP 12" BRAIDED S/S "DELTA" CONNECTOR | 6.132 | 0 | 0 | 1 | 10082647165516 | 100 | 20082647165513 | 82647165519
DDF-20LF | LEAD FREE 3/8" OD COMP 20" BRAIDED S/S "DELTA" CONNECTOR | 7.245 | 0 | 0 | 1 | 10082647165523 | 100 | 20082647165520 | 82647165526
SSF-0315LF | LEAD FREE 1/2"FIP X 1/2"FIP X 15" BRAIDED S/S FAUCET CONNECTOR | 6.0165 | 0 | 0 | 25 | 10082647165530 | 100 | 20082647165537 | 82647165533
SSF-0336LF | LEAD FREE 1/2"FIP X 1/2"FIP X 36" BRAIDED S/S FAUCET CONNECTOR | 9.198 | 0 | 0 | 10 | 10082647165547 | 40 | 20082647165544 | 82647165540
SSF-0348LF | LEAD FREE 1/2"FIP X 1/2"FIP X 48" BRAIDED S/S FAUCET CONNECTOR | 10.899 | 0 | 0 | 10 | 10082647165554 | 40 | 20082647165551 | 82647165557
SSF-12LF | LEAD FREE 3/8"COMP X 1/2"FIP 12" BRAIDED S/S FAUCET CONNECTOR | 5.418 | 0 | 0 | 1 | 10082647165561 | 100 | 20082647165568 | 82647165564
SSF-16LF | LEAD FREE 3/8"COMP X 1/2"FIP 16" BRAIDED S/S FAUCET CONNECTOR | 5.943 | 0 | 0 | 1 | 10082647165578 | 100 | 20082647165575 | 82647165571
SSF-20LF | LEAD FREE 3/8"COMP X 1/2"FIP 20" BRAIDED S/S FAUCET CONNECTOR | 6.5205 | 0 | 0 | 1 | 10082647165585 | 100 | 20082647165582 | 82647165588
SSF-30LF | LEAD FREE 3/8"COMP X 1/2"FIP 30" BRAIDED S/S FAUCET CONNECTOR | 7.896 | 0 | 0 | 1 | 10082647165592 | 40 | 20082647165599 | 82647165595
SSF-36LF | LEAD FREE 3/8"COMP X 1/2"FIP 36" BRAIDED S/S FAUCET CONNECTOR | 8.799 | 0 | 0 | 1 | 10082647165608 | 40 | 20082647165605 | 82647165601
STAINLESS STEEL BRAIDED BALLCOCK CONNECTORS
SST-039M | 1/2"COMP X 7/8" X 9" BRAIDED S/S CLOSET CONNECTOR WITH METAL BALLCOCK NUT | 5.019 | 0 | 0 | 25 | 10082647076836 | 100 | 20082647076833 | 82647076839
SST-09M | 3/8"COMP X 7/8" X 9" BRAIDED S/S CLOSET CONNECTOR WITH METAL BALLCOCK NUT | 5.9115 | 0 | 0 | 1 | 10082647095530 | 100 | 20082647095537 | 82647095533
SST-09P | 3/8"COMP X 7/8" X 9" BRAIDED S/S CLOSET CONNECTOR WITH PLASTIC BALLCOCK NUT | 3.948 | 0 | 0 | 1 | 10082647561097 | 100 | 20082647561094 | 82647561090
SST-12M | 3/8"COMP X 7/8" X 12" BRAIDED S/S CLOSET CONNECTOR WITH METAL BALLCOCK NUT | 6.4365 | 0 | 0 | 1 | 10082647560120 | 100 | 20082647560127 | 82647560123
SST-12P | 3/8"COMP X 7/8" X 12" BRAIDED S/S CLOSET CONNECTOR WITH PLASTIC BALLCOCK NUT | 4.6725 | 0 | 0 | 1 | 10082647561127 | 100 | 20082647561124 | 82647561120
SST-20M | 3/8"COMP X 7/8" X 20" BRAIDED S/S CLOSET CONNECTOR WITH METAL BALLCOCK NUT | 7.371 | 0 | 0 | 1 | 10082647560205 | 100 | 20082647560202 | 82647560208
SST-30M | 3/8"COMP X 7/8" X 30" BRAIDED S/S CLOSET CONNECTOR WITH METAL BALLCOCK NUT NOT FOR POTABLE WATER | 7.77 | 0 | 0 | 1 | 10082647099583 | 100 | 20082647099580 | 82647099586
STAINLESS STEEL BRAIDED WASHING MACHINE CONNECTORS
SSWM-48 | 3/4"FHT X 3/4"FHT X 48" BRAIDED WASHING MACHINE CONNECTOR NOT FOR POTABLE WATER | 14.406 | 0 | 0 | 1 | 10082647120140 | 40 | 20082647120147 | 82647120143
SSWM-60 | 3/4"FHT X 3/4"FHT X 60" BRAIDED WASHING MACHINE CONNECTOR NOT FOR POTABLE WATER | 17.892 | 0 | 0 | 1 | 10082647120157 | 40 | 20082647120154 | 82647120150
SSWM-72 | 3/4"FHT X 3/4"FHT X 72" BRAIDED WASHING MACHINE CONNECTOR NOT FOR POTABLE WATER | 19.7295 | 0 | 0 | 1 | 10082647120164 | 40 | 20082647120161 | 82647120167
LEAD FREE STAINLESS STEEL BRAIDED DISHWASHER CONNECTORS
SSDW-36LF | LEAD FREE 36" STAINLESS STL BRAIDED DISH WASHER CONN W/ 90 ELBOW NOT FOR POTABLE WATER | 11.6445 | 0 | 0 | 10 | 10082647171937 | 40 | 20082647171934 | 82647171930
SSDW-48LF | LEAD FREE 48" STAINLESS STL BRAIDED DISH WASHER CONN W/ 90 ELBOW NOT FOR POTABLE WATER | 13.335 | 0 | 0 | 10 | 10082647171944 | 40 | 20082647171941 | 82647171947
SSDW-60LF | LEAD FREE 60" STAINLESS STL BRAIDED DISH WASHER CONN W/ 90 ELBOW NOT FOR POTABLE WATER | 14.994 | 0 | 0 | 10 | 10082647171951 | 40 | 20082647171958 | 82647171954
SSDW-72LF | LEAD FREE 72" STAINLESS STL BRAIDED DISH WASHER CONN W/ 90 ELBOW NOT FOR POTABLE WATER | 16.6845 | 0 | 0 | 10 | 10082647171968 | 40 | 20082647171965 | 82647171961
SSDWL-36LF | LEAD FREE 36" STAINLESS STL BRAIDED DISH WASHER CONN W/3/4" HPT 90 ELBOW | 15.0255 | 0 | 0 | 10 | 10082647171975 | 40 | 20082647171972 | 82647171978
SSDWL-48LF | LEAD FREE 48" STAINLESS STL BRAIDED DISH WASHER CONN W/3/4" HPT 90 ELBOW | 16.086 | 0 | 0 | 10 | 10082647171982 | 40 | 20082647171989 | 82647171985
SSDWL-60LF | LEAD FREE 60" STAINLESS STL BRAIDED DISH WASHER CONN W/3/4" HPT 90 ELBOW | 18.3855 | 0 | 0 | 10 | 10082647171999 | 40 | 20082647171996 | 82647171992
SSDWL-72LF | LEAD FREE 72" STAINLESS STL BRAIDED DISH WASHER CONN W/3/4" HPT 90 ELBOW | 20.076 | 0 | 0 | 10 | 10082647172002 | 40 | 20082647172009 | 82647172005
VDWB-60LF | LEAD FREE 3/8OD X 1/2 X 60" VINYL DISHWASHER CONNECTOR WITH BRASS NUT WITH 3/8 ELBOW | 11.5605 | 0 | 0 | 10 | 10082647172019 | 40 | 20082647172016 | 82647172012
VDWB-60LELF | LEAD FREE 3/8OD X 1/2 X 60" VINYL DISHWASHER CONNECTOR WITH BRASS NUT LESS ELBOW | 8.9565 | 0 | 0 | 10 | 10082647172026 | 40 | 20082647172023 | 82647172029
DWLLF | LEAD FREE DISHWASHER ELBOW 3/8"OD X 3/4" FHT BRASS BODY WITH SWIVEL HOSE CONNECTOR & GASKET | 6.0585 | 0 | 0 | 10 | 10082647171265 | 200 | 20082647171262 | 82647171268
STAINLESS STEEL ICE MAKER CONNECTOR
SSIM-60LF | 1/4" OD X 1/4" OD 60" BRAIDED SS ICE MAKER CONNECTOR | 11.424 | 0 | 0 | 10 | 10082647199535 | 40 | 20082647199532 | 82647199538
SSIM-72LF | 1/4" OD X 1/4" OD 72" BRAIDED SS ICE MAKER CONNECTOR | 12.285 | 0 | 0 | 10 | 10082647199542 | 40 | 20082647199549 | 82647199545
SSIM-96LF | 1/4" OD X 1/4" OD 96" BRAIDED SS ICE MAKER CONNECTOR | 16.05 | 0 | 0 | 10 | 10082647362977 | 40 | 20082647362974 | 82647362970
LEAD FREE VINYL ICE MAKER SUPPLY TUBE
VIMK-60LF | 1/4OD X 60" VINYL REINFORCED FLEXIBLE ICE MAKER SUPPLY TUBE LEAD FREE | 6.3315 | 0 | 0 | 10 | 10082647182896 | 40 | 20082647182893 | 82647182899
VIMK-72LF | 1/4OD X 72" VINYL REINFORCED FLEXIBLE ICE MAKER SUPPLY TUBE LEAD FREE | 7.0665 | 0 | 0 | 10 | 10082647182902 | 40 | 20082647182909 | 82647182905
LEAD FREE VINYL CONNECTORS
VFB-0320LF | LEAD FREE 1/2 X 1/2 X 20" VINYL FAUCET TUBE WITH BRASS NUT | 5.8065 | 0 | 0 | 25 | 10082647167398 | 100 | 20082647167395 | 82647167391
VFB-0348LF | LEAD FREE 1/2 X 1/2 X 48" VINYL FAUCET CONNECTOR WITH BRASS NUT | 8.358 | 0 | 0 | 10 | 10082647167404 | 40 | 20082647167401 | 82647167407
VFB-12LF | LEAD FREE 3/8OD X 1/2 X 12" VINYL FAUCET TUBE WITH BRASS NUT | 4.704 | 0 | 0 | 25 | 10082647167381 | 100 | 20082647167388 | 82647167384
VFC-0212LF | LEAD FREE 3/8 X 1/2 X 12" VINY FAUCET CONNECTOR WITH CELCON N | 3.759 | 0 | 0 | 25 | 10082647216201 | 100 | 20082647216208 | 8264721620
VFC-0220LF | LEAD FREE 3/8 X 1/2 X 20" VINY FAUCET CONNECTOR WITH CELCON N | 4.2945 | 0 | 0 | 25 | 10082647211220 | 100 | 20082647211227 | 8264721122
VFC-0230LF | LEAD FREE 3/8 X 1/2 X 30" VINY FAUCET CONNECTOR WITH CELCON N | 4.7775 | 0 | 0 | 10 | 10082647211237 | 40 | 20082647211234 | 8264721123
VFC-0236LF | LEAD FREE 3/8 X 1/2 X 36" VINY FAUCET CONNECTOR WITH CELCON N | 5.082 | 0 | 0 | 10 | 10082647211244 | 40 | 20082647211241 | 8264721124
VFC-0312LF | LEAD FREE 1/2 X 1/2 X 12" VINYL FAUCET TUBE WITH CELCON NUT | 3.7065 | 0 | 0 | 25 | 10082647167411 | 100 | 20082647167418 | 82647167414
VFC-0316LF | LEAD FREE 1/2 X 1/2 X 16" VINYL FAUCET TUBE WITH CELCON NUT | 4.0425 | 0 | 0 | 25 | 10082647167428 | 100 | 20082647167425 | 82647167421
VFC-0320LF | LEAD FREE 1/2 X 1/2 X 20" VINYL FAUCET TUBE WITH CELCON NUT | 4.368 | 0 | 0 | 25 | 10082647167435 | 100 | 20082647167432 | 82647167438
VFC-0324LF | LEAD FREE 1/2 X 1/2 X 24" VINYL FAUCET TUBE WITH CELCON NUT | 4.704 | 0 | 0 | 25 | 10082647167442 | 100 | 20082647167449 | 82647167445
VFC-0336LF | LEAD FREE 1/2 X 1/2 X 36" VINYL FAUCET TUBE WITH CELCON NUT | 5.6805 | 0 | 0 | 10 | 10082647167459 | 40 | 20082647167456 | 82647167452
VFC-0348LF | LEAD FREE 1/2 X 1/2 X 48" VINYL FAUCET TUBE WITH CELCON NUT | 6.657 | 0 | 0 | 10 | 10082647167466 | 40 | 20082647167463 | 82647167469
VFC-0360LF | LEAD FREE 1/2 X 1/2 X 60" VINYL FAUCET TUBE WITH CELCON NUT | 7.6335 | 0 | 0 | 10 | 10082647167473 | 40 | 20082647167470 | 82647167476
VINYL CONNECTORS
VTB-039 | 1/2 X 7/8 X 9" VINYL TANK TUBE WITH BRASS NUT | 3.591 | 0 | 0 | 25 | 10082647077024 | 100 | 20082647077021 | 82647077027
VTC-0212 | 3/8 X 7/8 X 12" VINYL TANK CONNECTOR WITH CELCON NUT | 2.982 | 0 | 0 | 25 | 10082647211206 | 100 | 20082647211203 | 8264721120
VTC-0220 | 3/8 X 7/8 X 20" VINYL TANK CONNECTOR WITH CELCON NUT | 3.507 | 0 | 0 | 25 | 10082647211213 | 100 | 20082647211210 | 8264721121
VTC-0312 | 1/2 X 7/8 X 12" VINYL TANK TUBE WITH CELCON NUT | 3.066 | 0 | 0 | 25 | 10082647076959 | 100 | 20082647076956 | 82647076952
SLIP NUTS
NT-125C | 11/4" X 11/4" CP SLIP NUT CHROME NUT | 2.728 | 0 | 0 | 250 | 10082647050188 | 500 | 20082647050185 | 82647050181
NT-125DCC | 1-1/4" X 1-1/4" CP DIE CAST SLP NUT | 1.5972 | 0 | 0 | 250 | 10082647108278 | 500 | 20082647108275 | 82647108271
NT-125DCR | 1-1/4" X 1-1/4" RB DIE CAST SLP NUT | 1.3992 | 0 | 0 | 250 | 10082647108261 | 500 | 20082647108268 | 82647108264
NT-125R | 11/4" X 11/4" RB SLIP NUT BRASS SLIP NUT | 2.1219 | 0 | 0 | 250 | 10082647079899 | 500 | 20082647079896 | 82647079892
NT-152C | 1-1/2" X 1-1/4" CP SLIP NUT CHROME NUT | 2.7522 | 0 | 0 | 250 | 10082647050201 | 500 | 20082647050208 | 82647050204
NT-152DCC | 1-1/2"X1-1/4" CP DIE CAST SLIP NUT | 1.8656 | 0 | 0 | 200 | 10082647117553 | 400 | 20082647117550 | 82647117556
NT-152DCR | 1-1/2"X1-1/4" RB DIE CAST SLIP NUT | 1.8656 | 0 | 0 | 200 | 10082647117560 | 400 | 20082647117567 | 82647117563
NT-152R | 11/2" X 11/4" RB SLIP NUT | 1.947 | 0 | 0 | 250 | 10082647050218 | 500 | 20082647050215 | 82647050211
NT-155C | 11/2" X 11/2" CP SLIP NUT CHROME NUT | 2.7522 | 0 | 0 | 250 | 10082647050225 | 500 | 20082647050222 | 82647050228
NT-155DCC | 1-1/2" X 1-1/2" CP DIE CAST SLP NUT | 1.8777 | 0 | 0 | 200 | 10082647108254 | 400 | 20082647108251 | 82647108257
NT-155DCR | 1-1/2" X 1-1/2" RB DIE CAST SLP NUT | 1.7138 | 0 | 0 | 250 | 10082647050317 | 500 | 20082647050314 | 82647050310
NT-155R | 11/2" X11/2" RB SLIP NUT BRASS SLIP NUT | 2.6004 | 0 | 0 | 250 | 10082647050232 | 500 | 20082647050239 | 82647050235
NT-252R | 2" X 1-1/2" RB BRASS SLIP NUT | 12.4058 | 0 | 0 | 250 | 10082647118550 | 500 | 20082647118557 | 82647118553
SPUDS
SP-125 | 1-1/4 X 1-1/4 BRASS CLOSET SPUD | 9.193 | 0 | 0 | 15 | 10082647125664 | 150 | 20082647125661 | 82647125667
SP-1275 | 1-1/4X3/4 CLOSET SPUD | 10.8864 | 0 | 0 | 25 | 10082647059020 | 150 | 20082647059027 | 82647059023
SP-152 | 11/2 X 11/4 BRASS CLOSET SPUD | 9.6768 | 0 | 0 | 25 | 10082647152769 | 125 | 20082647152766 | 82647152762
SP-155 | 1-1/2X1-1/2 BRASS CLOSET SPUD | 11.4666 | 0 | 0 | 25 | 10082647155777 | 125 | 20082647155774 | 82647155770
SP-175 | 1 X 3/4 BRASS CLOSET SPUD | 6.8824 | 0 | 0 | 10 | 10082647175546 | 200 | 20082647175543 | 82647175549
SP-200 | 2 X 2 BRASS CLOSET SPUD | 14.9027 | 0 | 0 | 10 | 10082647225883 | 100 | 20082647225880 | 82647225886
SP-225 | 2 X 11/4 BRASS CLOSET SPUD | 13.1723 | 0 | 0 | 10 | 10082647225869 | 100 | 20082647225866 | 82647225862
SP-250 | 2 X 11/2 BRASS CLOSET SPUD | 13.6326 | 0 | 0 | 10 | 10082647225876 | 100 | 20082647225873 | 82647225879
BASKET STRAINERS
SS-100 | DUO BASKET STRAINER | 7.21 | 0 | 0 | 1 | 10082647950105 | 50 | 20082647950102 | 82647950108
SS-102S | STAINLESS STEEL DUO BASKET STRAINER - SATIN NICKEL FINISH | 21.4858 | 0 | 0 | 1 | 10082647022475 | 1 | 20082647022472 | 82647022478
SS-105 | SS DUO STRAINER W/3 THUMB SCRW WITH BRASS COUPLING NUT | 10.4648 | 0 | 0 | 1 | 10082647950129 | 50 | 20082647950126 | 82647950122
SS-111 | SS DEEP CUP ECO STRAINER | 10.1867 | 0 | 0 | 1 | 10082647950112 | 50 | 20082647950119 | 82647950115
SS-112 | S/S DEEP CUP DUO STRAINER | 15.4603 | 0 | 0 | 1 | 10082647059211 | 50 | 20082647059218 | 82647059214
SS-125 | C.P.BRASS BODIED DUO STRAINER | 25.7603 | 0 | 0 | 1 | 10082647059235 | 50 | 20082647059232 | 82647059238
SS-145 | S/S DEEP CUP DUO STRAINER-SPRING CLIP BASKET | 11.8759 | 0 | 0 | 1 | 10082647020044 | 50 | 20082647020041 | 82647020047
SS-150 | PLASTIC DUO STRAINER W/SS CLAD | 6.2109 | 0 | 0 | 1 | 10082647059273 | 100 | 20082647059270 | 82647059276
SS-150MH | PLASTIC DUO STRAINER SS CLAD LESS NUT & WASHER | 3.904 | 0 | 0 | 1 | 10082647078519 | 50 | 20082647078516 | 82647078512
SS-150MHW | PLASTIC DUO STRAINER - WHITE LESS NUT AND WASHER | 4.9123 | 0 | 0 | 1 | 10082647116464 | 50 | 20082647116461 | 82647116467
SS-175 | CAST BRASS DUO STRAINER | 52.5448 | 0 | 0 | 1 | 10082647059280 | 25 | 20082647059287 | 82647059283
SS-185B | DEEP CUP DUO STRAINER-SNAPLOC BSKT BRASS SLIP NUT | 21.85 | 0 | 0 | 1 | 10082647116716 | 50 | 20082647116713 | 82647116719
SS-195 | SS TWIST-N-SEAL DUO STRAINER | 17.0877 | 0 | 0 | 1 | 10082647951959 | 50 | 20082647951956 | 82647951952
SS-195B | TWIST-N-SEAL STRAINER,BRASS NT | 21.497 | 0 | 0 | 1 | 10082647059310 | 50 | 20082647059317 | 82647059313
SS-200 | DUPLEX STRAINER | 6.9422 | 0 | 0 | 1 | 10082647950303 | 100 | 20082647950300 | 82647950306
SS-300 | WASH TRAY PLUG | 7.3233 | 0 | 0 | 1 | 10082647059358 | 100 | 20082647059355 | 82647059351
SS-300MH | 2-1/2" CP DIE CAST ZINC WASH TRAY PLUG W/ZINC LOCKNUT,RUBBER WASHER | 7.9619 | 0 | 0 | 1 | 10082647127118 | 100 | 20082647127115 | 82647127111
SS-400 | STRAINER FLAT; 4-1/2" | 8.2915 | 0 | 0 | 1 | 10082647950204 | 50 | 20082647950201 | 82647950207
SS-500M | FIT ALL STRAINER INSERT-METAL DROP POST RUBBER SEAT | 3.2548 | 0 | 0 | 1 | 10082647950167 | 100 | 20082647950164 | 82647950160
SS-510 | STRAINER INSERT-SOLID METAL POST RUBBER SEAT. FITS SS-100 & SS-111 | 1.6274 | 0 | 0 | 10 | 10082647059396 | 200 | 20082647059393 | 82647059399
SS-512 | S/S POST INSERT W/CP METAL POST FITS SS-112 | 3.4711 | 0 | 0 | 1 | 10082647059402 | 100 | 20082647059409 | 82647059405
SS-525 | REPLACEMENT INSERT FOR SS-125 | 2.6574 | 0 | 0 | 1 | 10082647059419 | 100 | 20082647059416 | 82647059412
SS-550MHW | PLASTIC STRAINER CUP INSERT-WHITE FOR SS-150MHW | 2.55 | 0 | 0 | 1 | 10082647150185 | 50 | 20082647150182 | 82647150188
SS-575 | SS BASKET FOR SS-175 | 8.213 | 0 | 0 | 1 | 10082647059426 | 100 | 20082647059423 | 82647059429
SS-585 | REPLACEMENT BASKET FOR SS-185B | 5.07 | 0 | 0 | 1 | 10082647120126 | 100 | 20082647120123 | 82647120129
SS-595 | REPLACEMENT INSERT FOR SS-195 | 5.9019 | 0 | 0 | 1 | 10082647059440 | 100 | 20082647059447 | 82647059443
SS-600 | JR DUO STRAINER - PRINTED BOX | 6.8186 | 0 | 0 | 1 | 10082647120836 | 100 | 20082647120833 | 82647120839
SS-6000 | JR DUO STRAINER - PLAIN BOX | 5.8092 | 0 | 0 | 1 | 10082647120638 | 100 | 20082647120635 | 82647120631
SS-600MHPL | PLASTIC JR.DUO STRAINER 2-1/2" SS CLAD,LESS N&W | 4.5011 | 0 | 0 | 1 | 10082647082813 | 100 | 20082647082810 | 82647082816
SS-600MHW | WHITE PLASTIC JR DUO STRAINER 2-1/2" LESS N&W | 3.612 | 0 | 0 | 1 | 10082647135564 | 100 | 20082647135561 | 82647135567
SS-601DCB | BASKET ONLY FOR 2-1/2" JR DUO STR DIE CAST | 0.9373 | 0 | 0 | 1 | 10082647012469 | 100 | 20082647012466 | 82647012462
SS-605 | C.P.BRASS JR.DUO STRAINER | 18.2207 | 0 | 0 | 1 | 10082647059488 | 100 | 20082647059485 | 82647059481
SS-610 | JR. DUO INSERT | 3.1518 | 0 | 0 | 1 | 10082647059525 | 100 | 20082647059522 | 82647059528
SS-610MHPC | CP PLASTIC INSERT ONLY FOR JR DUO STRAINER | 2.4447 | 0 | 0 | 1 | 10082647156927 | 50 | 20082647156924 | 82647156920
SS-615 | DEEP JR DUO STRAINER INSERT | 5.6856 | 0 | 0 | 1 | 10082647096353 | 200 | 20082647096350 | 82647096356
SS-625MHPC | 2-1/2" PLASTIC JR.DUO STRAINER WITH SCREW IN BASKET | 4.1126 | 0 | 0 | 1 | 10082647010243 | 200 | 20082647010240 | 82647010246
TOILET TANK ASSEMBLY
T-250 | DOUGLAS FLUSH VALVE-REG.PATTN. | 27.604 | 0 | 0 | 2 | 10082647059860 | 50 | 20082647059867 | 82647059863
T-300M | SINGLE ACTION TANK LEVER-METAL | 3.1 | 0 | 0 | 50 | 10082647059877 | 200 | 20082647059874 | 82647059870
TAPE
TE0460 | 3/4"X60' ELEC TAPE IMPORT | 1.651 | 0 | 0 | 1 | 10082647046099 | 200 | 20082647046096 | 82647046092
TF03100 | 1/2 X 100 PTFE THREAD SEALING TAPE | 0.6 | 0 | 0 | 1 | 10082647135298 | 1 | 20082647135295 | 82647135291
TF031296 | 1/2X1296 PTFE THREAD SEALING TAPE | 2.36 | 0 | 0 | 50 | 10082647059969 | 250 | 20082647059966 | 82647059962
TF03260 | 1/2X260 PTFE THREAD SEALING TAPE | 0.64 | 0 | 0 | 100 | 10082647059976 | 500 | 20082647059973 | 82647059979
TF03520 | 1/2X520 PTFE THREAD SEALING TAPE | 0.87 | 0 | 0 | 100 | 10082647059983 | 500 | 20082647059980 | 82647059986
TF041296 | 3/4 X 1296 PTFE THREAD SEALING TAPE | 3.99 | 0 | 0 | 50 | 10082647082882 | 150 | 20082647082889 | 82647082885
TF04260 | 3/4X260 PTFE THREAD SEALING TAPE | 1.03 | 0 | 0 | 70 | 10082647059990 | 350 | 20082647059997 | 82647059993
TF04520 | 3/4X520 PTFE THREAD SEALING TAPE | 1.47 | 0 | 0 | 70 | 10082647060002 | 350 | 20082647060009 | 82647060005
TF051296 | 1X1296 PTFE THREAD SEALING TAPE | 5.3 | 0 | 0 | 1 | 10082647060019 | 150 | 20082647060016 | 82647060012
TF05260 | 1X260 PTFE THREAD SEALING TAPE | 1.3 | 0 | 0 | 50 | 10082647060026 | 250 | 20082647060023 | 82647060029
TF05520 | 1X520 PTFE THREAD SEALING TAPE | 1.89 | 0 | 0 | 50 | 10082647060033 | 250 | 20082647060030 | 82647060036
TW0810 | 2"X10MIL PIPE WRAP | 14.0523 | 0 | 0 | 1 | 10082647060385 | 36 | 20082647060382 | 82647060388
TW0820 | 2"X20MIL PIPE WRAP | 28.355 | 0 | 0 | 1 | 10082647060392 | 24 | 20082647060399 | 82647060395
TW1110 | 4X10 PIPE WRAP | 27.713 | 0 | 0 | 1 | 10082647060408 | 12 | 20082647060405 | 82647060401
DWV SPECIALTIES
CO-150 | 1 1/2 FLUSH CLEANOUT | 7.2218 | 0 | 0 | 1 | 10082647027869 | 180 | 20082647027866 | 82647027862
CO-200 | 2 FLUSH CLEANOUT | 9.7014 | 0 | 0 | 1 | 10082647027876 | 150 | 20082647027873 | 82647027879
COT07 | 1-1/2" DWV DANDY CLEANOUT TEE WITH PLUG | 28.2442 | 0 | 0 | 5 | 10082647075389 | 50 | 20082647075386 | 82647075382
COT08 | 2" DWV DANDY CLEANOUT TEE WITH PLUG | 39.5898 | 0 | 0 | 5 | 10082647075396 | 40 | 20082647075393 | 82647075399
DWVY-07 | 1-1/2" CAST BRASS DWV WYE C X C | 24.6635 | 0 | 0 | 5 | 10082647163161 | 60 | 20082647163168 | 82647163164
DWVY-08 | 2" CAST BRASS DWV WYE C X C | 41.5251 | 0 | 0 | 1 | 10082647163178 | 40 | 20082647163175 | 82647163171
DWV-07A | 1-1/2" SWT X MALE DWV ADAPTER BUSHING | 9.5312 | 0 | 0 | 25 | 10082647182209 | 100 | 20082647182206 | 82647182202
DWV-07TA | 1-1/2" SWT X SLIP DWV TRAP ADAPTER | 11.2974 | 0 | 0 | 12 | 10082647163185 | 120 | 20082647163182 | 82647163188
DWV-08A | 2" SWT X MALE DWV ADAPTER BUSHING | 16.2393 | 0 | 0 | 25 | 10082647182216 | 100 | 20082647182213 | 82647182219
PTRAP07L | 1-1/2" DWV P TRAP LESS CLEANOUT C X C | 45.0453 | 0 | 0 | 1 | 10082647075358 | 20 | 20082647075355 | 82647075351
PTRAP07W | 1-1/2" DWV P TRAP WITH CLEANOUT C X C | 46.1216 | 0 | 0 | 1 | 10082647075341 | 20 | 20082647075348 | 82647075344
PTRAP08L | 2" DWV P TRAP LESS CLEANOUT C X C | 55.9082 | 0 | 0 | 1 | 10082647075372 | 20 | 20082647075379 | 82647075375
PTRAP08W | 2" DWV P TRAP WITH CLEANOUT C X C | 59.4642 | 0 | 0 | 1 | 10082647075365 | 20 | 20082647075362 | 82647075368
TRAPS
TRAP-0606SC | 1-1/4 X 1-1/4 C.P.SEMI CAST P TRAP | 51.6499 | 0 | 0 | 1 | 10082647128900 | 24 | 20082647128907 | 82647128903
TRAP-0706SC | 1-1/2" X 1-1/4" C.P.SEMI CAST P TRAP | 59.911 | 0 | 0 | 1 | 10082647128924 | 24 | 20082647128921 | 82647128927
TRAP-0707SC | 1-1/2" X 1-1/2" C.P.SEMI CAST P TRAP | 59.3555 | 0 | 0 | 1 | 10082647128917 | 24 | 20082647128914 | 82647128910
LST-150 | 1 1/2" GALV. LW SEAL BATH TRAP | 18.46 | 0 | 0 | 1 | 10082647095479 | 18 | 20082647095476 | 82647095472
LST-201 | 2" GALV.LOW SEAL BATH TRAP | 18.46 | 0 | 0 | 1 | 10082647030937 | 24 | 20082647030934 | 82647030930
TRAP-110 | 2" C.I. TRAP STANDARD | 211.34 | 0 | 0 | 1 | 10082647160115 | 28 | 20082647160112 | 82647160118
TRAP-120 | 3" C.I. TRAP STANDARD | 211.34 | 0 | 0 | 1 | 10082647780016 | 28 | 20082647780013 | 82647780019
TRAP-A | 1-1/2" X 1-1/4" CP LA TRAP WITH CLEANOUT IPS | 56.6944 | 0 | 0 | 1 | 10082647060125 | 20 | 20082647060122 | 82647060128
TRAP-B | 1-1/2" X 1-1/4" CP LA TRAP LESS CLEANOUT IPS | 52.9805 | 0 | 0 | 1 | 10082647060132 | 20 | 20082647060139 | 82647060135
TRAP-C | 1-1/2" X 1-1/2" RB LA TRAP LESS CLEANOUT COPPER SWEAT OUTLET | 47.525 | 0 | 0 | 1 | 10082647060149 | 20 | 20082647060146 | 82647060142
TRAP-D | 1-1/2" X 1-1/4" RB LA TRAP WITH CLEANOUT IPS | 48.505 | 0 | 0 | 1 | 10082647060156 | 20 | 20082647060153 | 82647060159
TRAP-E | 1-1/2" X 1-1/2" RB LA TRAP LESS CLEANOUT IPS | 45.481 | 0 | 0 | 1 | 10082647060187 | 20 | 20082647060184 | 82647060180
TRAP-F | 1-1/2" X 1-1/4" RB NY TRAP WITH CLEANOUT IPS | 45.0576 | 0 | 0 | 1 | 10082647060194 | 20 | 20082647060191 | 82647060197
TRAP-G | 1-1/2" X 1-1/4" CP NY TRAP WITH CLEANOUT IPS | 49.6899 | 0 | 0 | 1 | 10082647060224 | 20 | 20082647060221 | 82647060227
TRAP-H | 2" X 1-1/2" RB NY TRAP WITH CLEANOUT IPS | 55.3034 | 0 | 0 | 1 | 10082647060231 | 20 | 20082647060238 | 82647060234
TRAP-I | 2" X 1-1/2" RB NY TRAP WITH CLEANOUT SWEAT | 51.7955 | 0 | 0 | 1 | 10082647060255 | 25 | 20082647060252 | 82647060258
TRAP-J | 2" X 1-1/2" RB SWING TEE TRAP WITH CLEANOUT IPS | 90.5744 | 0 | 0 | 1 | 10082647060262 | 15 | 20082647060269 | 82647060265
TRAP-L | 1-1/2" X 1-1/2" IPS RB LOW SEAL BATH TRAP LESS CLEANOUT | 39.6144 | 0 | 0 | 1 | 10082647060286 | 25 | 20082647060283 | 82647060289
TRAP-M | 2" X 1-1/2" CP NY TRAP WITH CLEANOUT IPS | 62.7054 | 0 | 0 | 1 | 10082647060293 | 25 | 20082647060290 | 82647060296
TRAP-N | 2" X 1-1/2" RB LA TRAP WITH CLEANOUT IPS | 80.5594 | 0 | 0 | 1 | 10082647060309 | 20 | 20082647060306 | 82647060302
TRAP-N-CP | 2" X 1-1/2" CP BRASS LA TRAP WITH CLEAOUT IPS | 95.7522 | 0 | 0 | 1 | 10082647027166 | 20 | 20082647027163 | 82647027169
TRAP-Q | 2" X 1-1/2" RB LA TRAP LESS CLEANOUT SWEAT | 93.7194 | 0 | 0 | 1 | 10082647060323 | 15 | 20082647060320 | 82647060326
STANDING WASTE AND COMPONENTS
41375 | MALE STANDING BATH WASTE | 145.0008 | 0 | 0 | 1 | 10082647006291 | 10 | 20082647006298 | 82647006294
41380 | FEMALE STANDING BATH WASTE | 141.588 | 0 | 0 | 1 | 10082647413808 | 10 | 20082647413805 | 82647413801
41390 | M & F STANDING BATH WASTE | 146.1348 | 0 | 0 | 1 | 10082647006314 | 10 | 20082647006311 | 82647006317
SBW-07 | SHOE 1-1/2 FOR STANDING WASTE | 59.6086 | 0 | 0 | 1 | 10082647058658 | 24 | 20082647058655 | 82647058651
SBW-08 | PLUNGER ASSEMBLY,STANDING WSTE | 44.0899 | 0 | 0 | 1 | 10082647058665 | 50 | 20082647058662 | 82647058668
SBW-08C | CP CAP ONLY FOR PLUNGER ASSEMBLY FOR STANDING WASTE | 5.0445 | 0 | 0 | 1 | 10082647097565 | 150 | 20082647097562 | 82647097568
SBW-09 | C,P,BARREL FOR STAND WAST | 44.0899 | 0 | 0 | 1 | 10082647092539 | 50 | 20082647092536 | 82647092532
SBW-09E | CP ESCUTCHEON ONLY FOR BARREL STANDING WASTE | 7.1038 | 0 | 0 | 1 | 10082647097572 | 50 | 20082647097579 | 82647097575
BATH WASTES ,PLUGS AND FACE PLATE
LNT-151 | 1-1/2" CP LIFT AND TURN - DIE CAST | 11.9995 | 0 | 0 | 1 | 10082647095486 | 100 | 20082647095483 | 82647095489
LNT-152 | 1-1/2" CP LIFT AND TURN - BRASS L/NUT | 22.95 | 0 | 0 | 1 | 10082647030852 | 100 | 20082647030859 | 82647030855
TTD-150 | 1-1/2 C.P. TIP TOE WAS | 16.7684 | 0 | 0 | 1 | 10082647060361 | 100 | 20082647060368 | 82647060364
TWB-100 | 1-1/2" TRIP LEVER WASTE-GRID DRAIN | 125.8589 | 0 | 0 | 1 | 10082647095905 | 12 | 20082647095902 | 82647095908
TWB-150 | BATH WASTE-PVC-TRIP LEVER TRIP LEVER | 30.87 | 0 | 0 | 1 | 10082647151304 | 20 | 20082647151301 | 82647151307
TWB-250 | BATH WASTE-PVC-LIFT & LOCK LIFT & LOCK | 38.6 | 0 | 0 | 1 | 10082647151311 | 20 | 20082647151318 | 82647151314
TWB-350 | BATH WASTE-PVC-EASY TOUCH TOE TOUCH | 38.6 | 0 | 0 | 1 | 10082647151328 | 20 | 20082647151325 | 82647151321
TWB-500 | 1-1/2" WASTE & OVERFLOW WITH CHAIN & STOPPER | 59.91 | 0 | 0 | 1 | 10082647095929 | 10 | 20082647095926 | 82647095922
TWB-605 | 1-1/2" BRASS TUB WASTE - POPUP DRAIN PLAIN SOCKET ON TAILPIECE CONNECTION | 146.7603 | 0 | 0 | 1 | 10082647157887 | 12 | 20082647157884 | 82647157880
TWB-FP | CP ZINC DIE CAST FACE PLATE FOR TWB STYLE TRIP LEVER WASTE | 4.4084 | 0 | 0 | 20 | 10082647076737 | 160 | 20082647076734 | 82647076730
SHOWER STALL DRAINS
SDB2NC | 2" NO-CAULK BRASS BODY SHR DRAIN W/S.S GRID-WRENCH INCLUDED | 44.27 | 0 | 0 | 1 | 10082647002828 | 20 | 20082647002825 | 82647002821
SDBC-200 | 2" NO-CAULK BRASS SHOWER DRAIN W/S.S GRID-FOR 2"SCH 40 PIPE | 30.48 | 0 | 0 | 20 | 10082647058801 | 40 | 20082647058808 | 82647058804
SDP2WSS | 2" QUICK-CAULK WHITE PLASTIC BODY SHOWER DRAIN W/SS GRID W/WRENCH | 12.04 | 0 | 0 | 1 | 10082647002835 | 40 | 20082647002832 | 82647002838
SDP2WSW | 2" SOLVENT WELD WHITE PLASTIC SHOWER DRAIN W/SS GRID | 12.04 | 0 | 0 | 1 | 10082647010298 | 40 | 20082647010295 | 82647010291
SDPVC2 | PVC FLOOR DRAIN WITH STAINLESS STEEL GRID FITS 2" AND 3"PIPE | 20.24 | 0 | 0 | 1 | 10082647000688 | 20 | 20082647000685 | 82647000681
WASHING MACHINE VALVE
WSI-051 | C X HOSE WASHING MACHINE VALVE BRONZE W/ LEVER NOT FOR POTABLE WATER | 48.2864 | 0 | 0 | 1 | 10082647060712 | 40 | 20082647060719 | 82647060715
WSI-050 | MIP X HOSE WASHING MACHINE VALVE BRONZE W/LEVER NOT FOR POTABLE WATER | 42.8995 | 0 | 0 | 1 | 10082647900506 | 40 | 20082647900503 | 82647900509
WASHING MACHINE TEE
WTI-75 | CAST BRASS WASHING MACHINE TEE 1-1/2"FX1-1/2M 3/4"MIP X 1/2" FIP NOT FOR POTABLE WATER | 12.9909 | 0 | 0 | 10 | 10082647060729 | 100 | 20082647060726 | 82647060722
WTI-77 | CAST BRASS WASHING MACHINE TEE 1-1/2" FIP X 1-1/2"MIP 3/4" HOSE X 1/2" FIP NOT FOR POTABLE WATER | 12.9909 | 0 | 0 | 10 | 10082647060736 | 100 | 20082647060733 | 82647060739
WTI-78 | CAST BRASS WASHING MACHINE TEE 1-1/2"FIPX1-1/2"MIP 3/4"HOSE X 1/2"SWT NOT FOR POTABLE WATER | 12.9909 | 0 | 0 | 10 | 10082647060743 | 100 | 20082647060740 | 82647060746
WTS-80 | CAST BRASS WASHING MACHINE TEE 1-1/2"MIPX1-1/2"SJ 3/4"MIPX1/2"FIP NOT FOR POTABLE WATER | 13.9462 | 0 | 0 | 10 | 10082647807744 | 100 | 20082647807741 | 82647807747
WTS-82 | CAST BRASS WASHING MACHINE TEE 1-1/2"MIPX1-1/2"SJ 3/4"HOSEX1/2"FIP NOT FOR POTABLE WATER | 13.9462 | 0 | 0 | 10 | 10082647060750 | 100 | 20082647060757 | 82647060753